## Slide 1: ANALYSIS AND DESIGN FOR THE REHABILITATION AND REPAIR OF WHARF 9 AT TURNING BASIN TERMINAL (RFQ-575).

## Slide 2
You Are Here

## Slide 3: Background
Constructed in 1948
Solid-fill wharf
585 ft in length
200 ft concrete apron slab
3 rail lines

## Slide 4: Previous Modifications
Original Construction:
  Cofferdam cells

## Slide 5: Previous Modifications
Original Construction:
  Cofferdam cells
Modified in 1969:
  Pile cap extension
  Battered tiebacks
Large areas with no battered piles

## Slide 6: Repair Considerations
Repair must:
  Address pile cap separation
  Increase slope stability
  Replace deteriorating fender
  Withstand 750 psf gravity loads
  Repair corroding bearing piles
750 PSF

## Slide 7: CD-09 Existing Condition
Pile cap separation at locations without augercast piles

## Slide 8: CD-09 Existing Condition
Fender disrepair

## Slide 9: CD-09 Existing Condition
Severe pile section loss at CD-08/CD-09 joint

## Slide 10
THANK YOU
Eddy Kharrazi, P.E.
Project Manager
Port Houston
Questions?
www.PortHouston.com
111 East Loop North
Houston, TX 77029